## Sheet1
Sample Lighting Cost Analysis on Replacement Fixtures - CLC Training Grid
Light Ref # & Location | Current Fixture Photo | Function / Fixture Type | Quantity | Watts | Hrs per Day | Watts per Day (Quantity X Watts X Hours per Day) | Watts per Month (Watts per Day X 30 Days) | KiloWatts Hours (KwH) per Month (Watts per Month / 1000) | Cost for all Fixtures per Month at $0.12 per KwH ( KwH per Month X 0.12) | Cost per Replacement Fixture (RF) & new wire / J-box, etc. | Cost for all of this type of Replacement Fixtures | RF Quantity | RF Watts | Hrs per Day | RF Watts per Day (Quantity X Watts X Hours per Day) | RF Watts per Month (Watts per Day X 30 Days) | RF KwHs per Month (Watts per Month / 1000) | Cost for all RFs per Month at $0.12 per KwH ( KwH per Month X 0.12) | Months to Break Even | Details of Replacements | Photo of Replacement Fixture
Home stead3 |  | Lighting around perimeter of the home / RAB FFLED | 12 | 230 | 12 | 33120 | 993600 | 993.6 | 119.232 | 127 | 1016 | 8 | 11 | 12 | 1056 | 31680 | 31.68 | 3.8016 | 8.8018 | Changed to warm, flush mounted under-eave fixture needed fewer fixtures. Lumen reduction to 700 per fixture for an even illumination of the exterior of the building.
Home stead4 |  | Illumination of flags / Spot | 2 | 84 | 12 | 2016 | 60480 | 60.48 | 7.2576 | 36 | 36 | 1 | 0 | 12 | 0 | 0 | 0 | 0 | 4.9603 | Solar flagpole downlight.
Home stead6 |  | Safety lighting for the crew / spot light | 2 | 100 | 6 | 1200 | 36000 | 36 | 4.32 | 40 | 80 | 2 | 13 | 3 | 78 | 2340 | 2.34 | 0.2808 | 19.8059 | Bronze Outdoor Wall Sconce using CFL bulb and a timer to reduce usage.
TOTAL Monthly Cost - existing fixtures | [8 empty] | 126.4896 | TOTAL RF Costs | 1132 | TOTAL Monthly Cost - RFs | [5 empty] | 3.8016 | 9.2267