## Blank Sheet Ready to Use
Lighting Inventory (Check Second Sheet for Sample Entries)
Reference # & Location | Daytime Photo | Nighttime Photo | Fixture Type | Lamp Type | Quantity | Watts | Lumens | Fixture Shielding | Principle 1: Useful? | Principle 2: Targeted? | Principle 3: Brightness Level? | Principle 4: Controls? | Principle 5: Color Temperature? | Evaluation: Does this light need improvement? | Evaluation Reasoning: Why?

## Sample Lighting Inventory for T
Lighting Inventory
Reference # & Location | Daytime Photo | Nighttime Photo | Fixture Type | Lamp Type | Quantity | Watts | Lumens | Fixture Shielding | Principle 1: Useful? | Principle 2: Targeted? | Principle 3: Brightness Level? | Principle 4: Controls? | Principle 5: Color Temperature? | Evaluation: Does this light need improvement? | Evaluation Reasoning: Why?
1; entrance 7 |  | TBD | Bare Bulb | Incandescent | 1 | 75 | 1100 | No Shielding | Yes, it is useful | Not targeted - needs a shield | Good brightness level | Needs controls - was on during day, so at least needs a switch to turn on and off if no timer/motion detector | 2700 K - pretty good | Yes; needs timer and shield | The light is not needed during the day and when people are not around, so there should be a way to turn it off when not in use. The light creates glare which is not safe, so it should be shielded.
2, 3; rear sidewalk |  | TBD | Barn Light | HPS | 4 | 150 | 2400 | No Shielding | Yes, it is useful | Not targeted - needs a shield | Could be a little less bright, but not too bad | Has a timer | 2000 K - good | Yes; replace with fully shielded LED with appropriate color and brightness with a timer | Right now, this light is creating a lot of light pollution and glare because it is not shielded. However, a shield would be pretty expensive. Therefore, replacing the fixture would be better because it would also reduce energy used.
4,5; outdoor classroom |  | TBD | Spot Light | LED | 2 | 16 (per double fixture) | 1100 | Has overhang but not very shielded | Yes, it is useful | Not targeted; needs to be redirected at the very least | Good brightness level | Has a timer | 4000 K - needs to be reduced; too much light in the blue wavelength | Yes; replace with fully shielded wall pack rated 2200-2400 K on a timer with appropriate brightness | The current spot light is spewing light everywhere creating glare and light pollution. The main two things that need to be improved upon are directing the light and the kelvin rating. Right now, it has a lot of light in the blue wavelength and is not directing light to where it is needed.
6, 7; PAB ceiling |  | TBD | Recessed can | CFL | 3 | 19 | 1100 | Is shielded | Yes, it is useful | Is targeted towards entrance | Good brightness level | Only used in the evening when needed | 3000 K - next time it's replaced, needs a lower Kelvin rating | No
8-10; PAB Pillars |  | TBD | Flood Lights | LED | 6 | 60 | 450 | Good - pointed up into ceiling to be reflected for indirect lighting | Yes, it is useful | Is targeted | Great brightness level | Only used in the evening when needed | 3000 K - could be better but not replacement worthy | No
11, 12 - South Sidewalk |  | TBD | Pole Mounted Area Light | LED | 3 | 27 | 2950 | Is shielded - doesn't create glare | Yes, it is useful | Is targeted | Appropriate light level along walkway. | On a timer | 2700 K - good | No
13, 14 - Outdoor Walkways |  | TBD | Wall Sconce | LED | 12 | 8 | 450 | Is shielded | Yes, it is useful | Is targeted both down towards the sidewalk and up towards the covering to reflect light | Great brightness level | On a timer | 3000 K - could be better but not replacement worthy | No
15, 16 Parking Lot |  | TBD | Pole Mounted Area Light | LED | 8 | 38 | 4373 | Is shielded | Yes, it is useful | Is targeted | Light level is appropriate for parking area. | On a timer | 3000 K - next time it's replaced, needs a lower Kelvin rating | No - just the recommendation for future replacements
17; Headmaster's garage |  | TBD | Wall Sconce | Incandescent | 1 | 60 | 800 | Needs to be shielded - glass only magnifies light | Yes, it is useful | Is not targeted - needs shield | Good brightness level | Has a switch - possibly talk to headmaster about only using when it's needed or getting a motion senser | 2700 K - good | Yes; replace with fully shielded fixture or fully shielded bulb (e.g. flat top bulb) and motion detecter | Right now, this light fixture has glass around the sides meaning that it is not directed where the light is needed and therefore creates glare and light pollution.
18, 19; Training Room |  | TBD | Wall Pack | Metal Halide | 1 | 100 | 5525 | Not shielded | Yes, it is useful | Is not targeted | Too bright | Needs motion detecter | 4200 K - needs to be replaced - has too much light in the blue wavelength | Yes; replace with a shielded wall pack with appropriate Kelvin rating and brightness level with a motion detecter | This light is too bright for it's purpose and is not shielded/targeted, so it creates a ton of glare and light pollution. Also, because of this light's high kevlin rating, it is harmful to the plants and animals surrounding the light.